## Fixed P&Gs
ORB.INV_02.22
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE A: PRELIMINARY AND GENERAL OBLIGATIONS
SECTION 1: PRELIMINARY AND GENERAL - FIXED CHARGE AND VALUE RELATED OBLIGATIONS
ITEM NUMBER | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
A.1 |  | FIXED CHARGE AND VALUE RELATED ITEMS:
(As specified in SABS 1200 A, SABS 1200 AB and the Project Specifications.)
1.1 |  | Contractual Requirements:
1.1.1 | 8.3.1 | Fixed charge contractual requirements. | Sum | 1 | 0 | 0
1.1.2 | 8.3.1 | Value related contractual requirements. | Sum | 1 | 0 | 0
1.2 |  | Facilities for Engineer: |  |  |  | 0
1.2.1 | 8.3.2.1 a | Furnished office - 1 No. | Sum | 1 | 0 | 0
1.2.2 | 8.3.2.1 c | Name board | Sum | 2 | 0 | 0
1.2.3 | PSA 14.1 a | Provision of survey equipment. | Sum | 1 | 0 | 0
1.2.4 | 8.3.2.1 e | Cellphone costs | Sum | 1 | 25000 | 25000
1.3 |  | Facilities for Contractor:
1.3.1 | 8.3.2.2 a | Offices and storage sheds | Sum | 1 | 0 | 0
1.3.2 | 8.3.2.2 b | Workshops | Sum | 1 | 0 | 0
1.3.3 | 8.3.2.2 c | Laboratories | Sum | 1 | 0 | 0
1.3.4 | 8.3.2.2 d | Living accommodation | Sum | 1 | 0 | 0
1.3.5 | 8.3.2.2 e | Ablution and latrine facilities | Sum | 1 | 0 | 0
1.3.6 | 8.3.2.2 f | Tools and equipment | Sum | 1 | 0 | 0
1.3.7 | 8.3.2.2 g | Water supplies, electric power and communications | Sum | 1 | 0 | 0
1.3.8 | 8.3.2.2 h | Dealing with water | Sum | 1 | 0 | 0
1.3.9 | 8.3.2.2 i | Access | Sum | 1 | 0 | 0
1.3.10 | 8.3.2.2 j | Plant | Sum | 1 | 0 | 0
1.3.11 | PSA 14.2 a | Materials on site storage and protection. | Sum | 1 | 0 | 0
1.3.12 | PSA 14.2 b | Accommodation of traffic. | Sum | 1 | 0 | 0
1.3.13 | PSA 14.2 c | Labour intensive activity training. | Sum | 1 | 0 | 0
[5 empty] | 0 | 0
1.4 | 8.3.3 | Other Fixed Charge Obligations: | Sum | 1 | 0 | 0
[5 empty] | 0 | 0
1.5 | 8.3.4 | Removal of Site Establishment: | Sum | 1 | 0 | 0
[5 empty] | 0 | 0
1.6 | PSA 14.3 a | Environmental Management: | Sum | 1 | 0 | 0
TOTAL SCHEDULE A - SECTION 1 CARRIED TO SUMMARY: | [5 empty] | 0
INVERAAN CONT B WS BoQ

## Time Related
ORB.INV_02.22
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE A: PRELIMINARY AND GENERAL OBLIGATIONS
SECTION 2: PRELIMINARY AND GENERAL - TIME RELATED OBLIGATIONS
ITEM NUMBER | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
A.2 |  | TIME RELATED ITEMS:
(As specified in SABS 1200 A, SABS 1200 AB and the Project Specifications.)
2.1 |  | Contractual Requirements:
2.1.1 | 8.4.1 | Time related contractual requirements. | Month | 15 | 0 | 0
2.2 |  | Facilities for Engineer:
2.2.1 | 8.4.2.1 a | Furnished office - 1 No. | Month | 15 | 0 | 0
2.2.2 | 8.4.2.1 c | Name boards - 2 No. | Month | 15 | 0 | 0
2.2.3 | 8.4.2.1 d | Survey assistants and material. | Month | 15 | 0 | 0
2.2.4 | 8.4.2.1e | Cellphone costs, including pro-rata | Month | 15 | 1000 | 15000
2.3 |  | Facilities for Contractor:
2.3.1 | 8.4.2.2 a | Offices and storage sheds. | Month | 15 | 0 | 0
2.3.2 | 8.4.2.2 b | Workshops. | Month | 15 | 0 | 0
2.3.3 | 8.4.2.2 c | Laboratories. | Month | 15 | 0 | 0
2.3.4 | 8.4.2.2 d | Living accommodation. | Month | 15 | 0 | 0
2.3.5 | 8.4.2.2 e | Ablution and latrine facilities. | Month | 15 | 0 | 0
2.3.6 | 8.4.2.2 f | Tools and equipment. | Month | 15 | 0 | 0
2.3.7 | 8.4.2.2 g | Water supplies, electric power and communications. | Month | 15 | 0 | 0
2.3.8 | 8.4.2.2 h | Dealing with water. | Month | 15 | 0 | 0
2.3.9 | 8.4.2.2 i | Access. | Month | 15 | 0 | 0
2.3.10 | 8.4.2.2 j | Plant. | Month | 15 | 0 | 0
2.4 | 8.4.3 | Supervision for Duration of the Contract: | Month | 15 | 0 | 0
2.5 | 8.4.4 | Overhead Costs for the Duration of the Contract: | Month | 15 | 0 | 0
2.6 | 8.4.5 | Other Time Related Obligations: | Month | 15 | 0 | 0
2.7 | PSA 14.3 b | Environmental Management: | Month | 15 | 0 | 0
2.8 | PSA 14.4 a | Construction Management Administration: | Month | 15 | 0 | 0
TOTAL SCHEDULE A - SECTION 2 CARRIED TO SUMMARY: | [5 empty] | 0
INVERAAN CONT B WS BoQ

## Prov Sums
ORB.INV_02.22
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE A: PRELIMINARY AND GENERAL OBLIGATIONS
SECTION 3: PRELIMINARY AND GENERAL - PROVISIONAL SUMS
ITEM NUMBER | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
A.3 |  | PROVISIONAL SUMS:
(As specified in SABS 1200 A and the Project Specifications.)
3.1 | 8.5 b | Community Liaison Officer:
3.1.1 | PSA 14.5 a | Provision for the employment of CLO. | Prov. Sum | 15 | 7000 | 105000
3.1.2 | PSA 14.5 b | Overheads, charges and profit on item 3.1.1. | % | 105000 |  | 0
3.2 | 8.5 b | PSC Attendance at Site Meeting:
3.2.1 | PSA 14.5 c | Provision for the attendance of PSC members. | Prov. Sum | 1 | 15000 | 15000
3.2.2 | PSA 14.5 d | Overheads, charges and profit on item 3.2.1. | % | 15000 |  | 0
3.3 | 8.5 b | Basic Skills and Construction Training:
3.3.1 | PSA 14.5 e | Provision for basic skills and construction site safety training. | Prov. Sum | 1 | 100000 | 100000
3.3.2 | PSA 14.5 f | Overheads, charges and profit on item 3.3.1. | % | 100000 |  | 0
3.4 | 8.5 b | Relocation/Protection of Existing Services:
3.4.1 | PSA 14.5 g | Provision for relocation/protection of existing services. | Prov. Sum | 1 | 25000 | 25000
3.4.2 | PSA 14.5 h | Overheads, charges and profit on item 3.4.1. | % | 25000 |  | 0
3.5 | 8.5 b | Additional Tests required by Engineer:
3.5.1 | PSA 14.5 i | Provision for additional tests. | Prov. Sum | 1 | 40000 | 40000
3.5.2 | PSA 14.5 j | Overheads, charges and profit on item 3.5.1. | % | 40000 |  | 0
3.6 | 8.5 b | Occupational Health and Safety Audits:
3.6.1 | PSA 14.5 k | Provision for Occupational Health and Safety audits on site. | Prov. Sum | 1 | 100000 | 100000
3.6.2 | PSA 14.5 l | Overheads, charges and profit on item 3.6.1. | % | 100000 |  | 0
3.6 | 8.5 b | Socail Facilitation
3.6.1 | PSA 14.5 k | Provision for Social Facilitation by a Client Appointed Service Provider . | Prov. Sum | 1 | 180000 | 180000
3.6.2 | PSA 14.5 l | Overheads, charges and profit on item 3.6.1. | % | 180000 |  | 0
TOTAL SCHEDULE A - SECTION 3 CARRIED TO SUMMARY:
INVERAAN CONT B WS BoQ

## PC Items
ORB.INV_02.22
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE A: PRELIMINARY AND GENERAL OBLIGATIONS
SECTION 4: PRELIMINARY AND GENERAL - PRIME COST SUMS
ITEM NUMBER | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
A.4 |  | PRIME COST ITEMS:
(As specified in SABS 1200 A and the Project Specifications.)
4.1 | 8.6 | Pipe Specials:
4.1.1 | PSA 14.6 k | Provision of pipe specials, valves and fittings for reservoir connections. | PC Sum | 1 | 50000 | 50000
4.1.2 | PSA 14.6 l | Overheads, charges and profit on item 4.1.1. | % | 50000 |  | 0
TOTAL SCHEDULE A - SECTION 4 CARRIED TO SUMMARY: | [5 empty] | 0
INVERAAN CONT B WS BoQ

## Dayworks
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [5 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE A: PRELIMINARY AND GENERAL OBLIGATIONS
SECTION 5: PRELIMINARY AND GENERAL - DAYWORKS
ITEM NUMBER | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
A.5 |  | DAYWORK:
(As specified in SABS 1200 A and the Project Specifications.)
5.1 | 8.7 | Labour - Normal Working Hours: [Provisional]
5.1.1 |  | Skilled Labour (Artisan). | hr |  |  | Rate Only
5.1.2 |  | Semi-skilled Labour. | hr |  |  | Rate Only
5.1.3 |  | Unskilled Labour. | hr |  |  | Rate Only
5.1.4 |  | Foreman. | hr |  |  | Rate Only
5.1.5 |  | Extra-over rate for items 5.1.1 to 5.1.4 for work during non working hours. | % |  |  | Rate Only
5.2 | 8.7 | Materials: [Provisional]
5.2.1 |  | Allowance for Materials used under Dayworks. | Sum | 1 | 50000 | 50000
5.2.2 |  | Overheads, Handling and all Charges on Item 5.2.1. | % | 50000 | 0 | 0
5.3 | 8.7 | Plant - Heavy Equipment: [Provisional]
(Plant shall not be more than 3 years old or have more than 3000 hrs logged. Operator to be qualified and competency certified.)
5.3.1 |  | Excavator - Size Cat 225. | hr |  |  | Rate Only
5.3.2 |  | Excavator - TLB. | hr |  |  | Rate Only
5.3.3 |  | Grader 140G or similar. | hr |  |  | Rate Only
5.3.4 |  | Front end loader - bucket capacity ≤ 1.5 m3. | hr |  |  | Rate Only
5.3.5 |  | Front end loader - bucket capacity >1.5 m3. | hr |  |  | Rate Only
5.3.6 |  | Tip truck - 5 m3 capacity. | hr |  |  | Rate Only
5.3.7 |  | Tip truck - 10 m3 capacity. | hr |  |  | Rate Only
5.3.8 |  | Vibratory compaction roller - 13.5 ton. | hr |  |  | Rate Only
5.3.9 |  | Transport cost per any unit of plant to deliver to site and remove from site for items 5.3.1 to 5.3.8 | Sum |  |  | Rate Only
5.4 | 8.7 | Plant - Small Equipment: [Provisional]
5.4.1 |  | Pedestrian roller - BW90 or similar. | hr |  |  | Rate Only
5.4.2 |  | Vibratory plate compactor. | hr |  |  | Rate Only
5.4.3 |  | Vibratory rammer. | hr |  |  | Rate Only
5.4.4 |  | Transport cost per any unit of plant to deliver to site and remove from site for items 5.4.1 to 5.4.3. | Sum |  |  | Rate Only
TOTAL SCHEDULE A - SECTION 5 CARRIED TO SUMMARY: | [5 empty] | 0
INVERAAN CONT B WS BoQ

## Temp Works
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [5 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE A: PRELIMINARY AND GENERAL OBLIGATIONS
SECTION 6: PRELIMINARY AND GENERAL - TEMPORARY WORKS
ITEM NUMBER | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
A.6 |  | TEMPORARY WORKS:
(As specified in SABS 1200 A and the Project Specifications.)
6.1 | 8.8 | Access Roads to the Works.
6.1.1 | PSA 14.7 a | Provision and maintenance of construction access to sites, camp or pipeline routes as required by the contractor. | Sum | 1 | 0 | 0
6.2 | 8.8 | Safety Measures at Excavations:
6.2.1 | PSA 14.7 b | Provision of all safety measures required to fully protect all excavations against public access, injury or any other possible accident. | Sum | 1 | 0 | 0
TOTAL SCHEDULE A - SECTION 6 CARRIED TO SUMMARY: | [5 empty] | 0
INVERAAN CONT B WS BoQ

## Earthworks_Trench
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 1: EARTHWORKS FOR PIPE TRENCHES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
B.1 |  |  | EARTHWORKS:
(As specified in SABS 1200 DB and the Project Specifications.)
1.1 |  |  | Site Clearance:
1.1.1 |  | 8.3.1 a | Clear vegetation, 800 mm wide. (Provisional) | m | 80934 | 0 | 0
1.1.2 |  | 8.3.1 b | Clear trees of girth over 1.0 m. | No. | 32 | 0 | 0
1.1.3 |  | 8.3.1 c | Remove 150 mm topsoil, 800 mm wide. | m2 | 9712.08 | 0 | 0
1.1.4 | LI |  | Demolish existing concrete. | m3 | 16 | 0 | 0
1.2 |  | PSDB 1.1 | Excavation using Plant:
1.2.1 |  |  | Excavate in all materials for trench depths up to 1000 mm, 800 mm wide. | m | 80934 | 0 | 0
1.2.2 |  |  | Excavate in all materials for trench depths exceeding 1000 mm up to 1500 mm, 800 mm wide. | m | 4046.7 | 0 | 0
1.2.3 |  |  | Extra-over items 1.2.1 and 1.2.2 for excavation in intermediate material. | m3 | 2023.35 | 0 | 0
1.2.4 |  |  | Extra-over items 1.2.1 and 1.2.2 for excavation in hard material. (Provisional) | m3 | 19424.16 | 0 | 0
1.2.5 |  |  | Excavate and dispose of unsuitable material from trench bottom. | m3 | 4856.04 | 0 | 0
1.2.6 |  |  | Spoil unsuitable backfill material. | m3 | 971.208 | 0 | 0
1.3 | LI | PSDB 1.1 | Excavation using Labour Intensive Methods:
1.3.1 |  |  | Extra-over Item 1.2.1 for excavation in soft material using labour intensive methods. | m | 80934 | 0 | 0
1.3.2 |  |  | Extra-over Item 1.2.2 for excavation in soft material using labour intensive methods. | m | 4046.7 | 0 | 0
1.3.4 |  |  | Extra-over Item 1.2.3 for excavation in intermediate material using labour intensive methods. | m3 | 2023.35 | 0 | 0
1.3.5 |  |  | Extra-over Item 1.2.5 for excavate and dispose of unsuitable materisl using labour intensive methods. | m3 | 4856.04 | 0 | 0
SUB-TOTAL SCHEDULE B - SECTION 1 CARRIED FORWARD: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Earthworks_Trench2
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 1: EARTHWORKS FOR PIPE TRENCHES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SUB-TOTAL SCHEDULE B - SECTION 1 BROUGHT FORWARD: | [6 empty] | 0
B.1 |  |  | EARTHWORKS: (Continues)
(As specified in SABS 1200 DB and the Project Specifications.)
1.4 | LI | PSDB 1.2 | Backfill and Compaction:
1.4.1 |  |  | Backfill and compact trenches using labour intensive methods. | m3 | 57786.876 | 0 | 0
1.4.2 |  |  | Backfill road crosings using a commercial type G4 material compacted to 98% Mod. AASHTO density. | m3 | 3059.3052 | 0 | 0
1.5 |  |  | Excavation Ancillaries;
1.5.1 |  | 8.3.3.1 a | Make up deficiency in backfill material from other excavations. | m3 | 2730.4299 | 0 | 0
1.5.2 |  | 8.3.3.1 b | Make up deficiency in backfill material from borrow pits. Free-haul is 5.0 km. | m3 | 1516.9055 | 0 | 0
1.5.4 |  | 8.3.3.2 | Opening and closing designated borrow pits. | Sum | 1 | 0 | 0
1.5.5 |  | 8.3.3.3 | Compaction within road reserve to 90 % of Modified AASHTO density clause 5.7.1. | m3 | 3059.3052 | 0 | 0
1.5.6 |  | 8.3.3.3 | Compaction within road reserve to 98 % of Modified AASHTO density, as per clause 5.7.2. | m3 | 1835.5831 | 0 | 0
1.6 |  |  | Overhaul:
1.6.1 |  | 8.3.3.4 | Overhaul in excess of the free-haul of 5.0 km. | m3-km | 1517 | 0 | 0
1.7 |  |  | Existing Services:
1.7.1 | LI | 8.3.5 a | Services that intersect a trench. | No. | 32 | 0 | 0
1.8 |  |  | Finishing:
1.8.1 |  | 8.3.6.1 c | Reinstate road surfaces using 40 mm asphalt. | m2 |  | 0 | Rate Only
1.8.2 | LI |  | Topsoil trenches. (Provisional) | m2 | 10197.684 | 0 | 0
TOTAL SCHEDULE B - SECTION 1 CARRIED TO SUMMARY: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Bedding
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 2: PIPE BEDDING
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
B.2 |  |  | BEDDING:
(As specified in SABS 1200 LB and the Project Specifications.)
2.1 |  | 8.2.1 | Bedding from Trench Excavations:
(Bedding to be Class C for flexible pipes as indicated in the contract drawings)
2.1.1 | LI |  | Provision of bedding from pipe trench excavation within 1.0 km, using selected granular material. | m3 | 19424.16 |  | 0
2.1.2 | LI |  | Provision of bedding from pipe trench excavation within 1.0 km, using selected fill material. | m3 | 6798.456 |  | 0
2.2 |  | 8.2.2 | Imported Bedding Material:
(Bedding to be Class C for flexible pipes as indicated in the contract drawings)
2.2.1 |  |  | Provision of bedding imported from designated borrow pit using selected granular material. | m3 | 4856 |  | 0
2.2.2 |  |  | Provision of bedding imported from designated borrow pit using selected fill material. | m3 | 1700 |  | 0
TOTAL SCHEDULE B - SECTION 2 CARRIED TO SUMMARY: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Pipelines1
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 3: MEDIUM PRESSURE PIPELINES AND ANCILLARIES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
B.3 |  |  | MEDIUM PRESSURE PIPES:
(As specified in SABS 1200 L, SABS 1200 GA and the Project Specifications.)
3.1 | LI | 8.2.1 | Supply, Lay and Bed uPVC Pipes Complete:
(The rates shall include disinfecting of pipes after completion of hydraulic pipe test.)
3.1.1 |  |  | 75 mm uPVC medium pressure pipes - Class 9. | m | 58675 | 0 | 0
3.1.2 |  |  | 160 mm uPVC medium pressure pipes - Class 12 | m | 0 | 0 | Rate Only
3.1.3 |  |  | 160 mm uPVC medium pressure pipes - Class 9. | m | 6295 | 0 | 0
3.1.4 |  |  | 25 mm HDPE PN 20 | m | 15964 | 0 | 0
3.1.4 |  |  | 110 mm uPVC medium pressure pipes - Class 16. | m |  | 0 | 0
3.1.5 |  |  | 160 mm uPVC medium pressure pipes - Class 12. | m |  | 0 | 0
3.1.5 |  |  | 200 mm uPVC medium pressure pipes - Class 12 | m | 0 | 0 | Rate Only
3.2 | LI | 8.2.2 | Fittings and Specials - uPVC Lyng Bends:
(Extra-over rate to Items 3.1)
3.2.1 |  |  | 75 mm Upvc class 16:
3.2.1.1 |  |  | uPVC bends less than 25 degree angle. | No. | 350 | 0 | 0
3.2.1.2 |  |  | uPVC bends with 45 degree angle. | No. | 45 | 0 | 0
3.2.1.3 |  |  | uPVC bends with 90 degree angle. | No. | 55 | 0 | 0
3.2.2 |  |  | 160 mm uPVC class 16: |  |  | 0
3.2.2.1 |  |  | uPVC bends less than 25 degree angle. | No. | 12 | 0 | 0
3.2.2.2 |  |  | uPVC bends with 45 degree angle. | No. | 20 | 0 | 0
3.2.2.3 |  |  | uPVC bends with 90 degree angle. | No. | 18 | 0 | 0
3.2.3 |  |  | 200 mm uPVC class 16: |  |  | 0
3.2.3.1 |  |  | uPVC bends less than 25 degree angle. | No. | 0 | 0 | Rate Only
3.2.3.2 |  |  | uPVC bends with 45 degree angle. | No. | 0 | 0 | Rate Only
3.2.3.3 |  |  | uPVC bends with 90 degree angle. | No. | 0 | 0 | Rate Only
3.3 | LI | 8.2.2 | Specials and Fittings - Cast Iron Equal Tees: |  |  | 0
|  |  | (Bitumen dipped and LYNG sockets on all sides all to SABS 546 and SABS 966.) |  |  | 0
3.3.1 |  |  | 75 mm dia. | No. | 25 | 0 | 0
3.3.2 |  |  | 160 mm dia. | No. | 6 | 0 | 0
3.3.3 |  |  | 200 mm dia | No. | 0 | 0 | Rate Only
SUB-TOTAL SCHEDULE B - SECTION 3 CARRIED FORWARD: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Pipelines2
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 3: MEDIUM PRESSURE PIPELINES AND ANCILLARIES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SUB-TOTAL SCHEDULE B - SECTION 3 BROUGHT FORWARD: | [6 empty] | 0
B.3 |  |  | MEDIUM PRESSURE PIPES:
(As specified in SABS 1200 L, SABS 1200 GA and the Project Specifications.)
3.4 | LI | 8.2.2 | Specials and Fittings - Hydrant Tees:
(Cast iron hydrant tees, Bitumen dipped and LYNG sockets to SABS 546 and SABS 966 with flanged branch, 80 mm dia, drilled to SABS 1123, Table 16.)
3.4.1 |  |  | 75 mm dia. | No. | 5 | 0 | 0
3.4.2 |  |  | 160 mm dia. | No. | 2 | 0 | 0
3.4.3 |  |  | 200 mm dia. | No. | 0 | 0 | Rate Only
3.5 | LI | 8.2.2 | Specials and Fittings - Cast Iron Scour Tees:
(Cast iron scour tee, Bitumen dipped and LYNG sockets to SABS 546 and SABS 966 with flanged branch, 100 mm dia, drilled to SABS 1123, Table 16.)
3.5.1 |  |  | 75 mm dia. | No. | 5 | 0 | 0
3.5.2 |  |  | 160 mm dia. | No. | 6 | 0 | 0
3.5.3 |  |  | 200 mm dia. | No. | 0 | 0 | Rate Only
3.6 | LI | 8.2.2 | Specials and Fittings - Cast Iron End Caps:
3.6.1 |  |  | 75 mm dia. | No. | 35 | 0 | 0
3.6.2 |  |  | 160 mm dia. | No. | 6 | 0 | 0
0
3.7 | LI | 8.2.2 | Specials and Fittings - Cast Iron Reducers:
(Bitumen dipped, spigot and socket and socketed cast iron reducers all to SABS 546 and SABS 966.)
3.7.1 |  |  | 75 mm x 160 mm dia. [S] | No. | 30 | 0 | 0
3.7.2 |  |  | 75 mm x 200 mm dia. [S] | No. | 0 | 0 | Rate Only
3.7.3 |  |  | 160 mm x 200 mm dia. [S] | No. | 0 | 0 | Rate Only
3.8 | LI | 8.2.2 | Specials and Fittings - Flang Adaptors:
(Bitumen dipped and LYNG sockets to SABS 546 and SABS 966 with flange drilled to SABS 1123, Table 16.)
3.8.1 |  |  | 75 mm dia. | No. | 35 | 0 | 0
3.8.2 |  |  | 160 mm dia. | No. | 6 | 0 | 0
3.8.3 |  |  | 91 mm dia. | No. | 5 | 0 | 0
3.8.4 |  |  | 200 mm dia. | No. | 0 | 0 | Rate Only
SUB-TOTAL SCHEDULE B - SECTION 3 CARRIED FORWARD: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Pipelines3
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 3: MEDIUM PRESSURE PIPELINES AND ANCILLARIES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SUB-TOTAL SCHEDULE B - SECTION 3 BROUGHT FORWARD: | [6 empty] | 0
B.3 |  |  | MEDIUM PRESSURE PIPES:
(As specified in SABS 1200 L, SABS 1200 GA and the Project Specifications.)
3.9 | LI | 8.2.2 | Specials and Fittings - Saddles:
(Cast iron, bitumen dipped saddle to be 25 mm BSP drilling and tapping.)
3.9.1 |  |  | 75 mm dia. | No. | 1571 | 0 | 0
3.9.2 |  |  | 160 mm dia. | No. | 90 | 0 | 0
3.10 | LI | 8.2.3 | Specials and Fittings - Isolating Valves:
(Flanged RSV isolating valves. Valves to be non-rising spindles with cap top.)
3.10.1 |  |  | 80 mm dia. Class 16 | No. | 15 | 0 | 0
3.10.2 |  |  | 160 mm dia. Class 16 | No. | 6 | 0 | 0
3.10.3 |  |  | 161 mm dia. Class 16 | No. | 6 | 0 | 0
3.10.4 |  |  | 200 mm dia. Class 16 | No. |  | 0 | 0
3.11 | LI | 8.2.3 | Specials and Fittings - Socketed Valves:
(Socket ends RSV isolating valves. Valves to be non-rising spindles with cap top.)
3.11.1 |  |  | 75 mm dia. Class 16 | No. | 20 | 0 | 0
3.11.2 |  |  | 160 mm dia. Class 16 | No. | 3 | 0 | 0
3.11.3 |  |  | 200 mm dia. Class 16 | No. |  | 0 | 0
3.12 | LI | 8.2.3 | Specials and Fittings - Air Valve:
(Vent O' Mat SERIES RBX with screwed BSP male inlet, or similar. Complete with flange, barrel nipple, and 50 mm gate valve)
3.12.1 |  |  | 50 mm Air Valve | No. | 15 | 0 | 0
3.13 | LI | 8.2.3 | Specials and Fittings - Bulk Water Meter: |  |  | 0 | 0
|  |  | (Kent or similar approved, flanged and drilled to SABS 1123, Table 16) |  |  | 0 | 0
3.13.1 |  |  | 80 mm dia. In-Line Bulk Water Meter. | No. | 1 | 0 | Rate Only
3.13.2 |  |  | 150 mm dia. In-Line Bulk Water Meter. | No. | 1 | 0 | Rate Only
3.13.3 |  |  | 200 mm dia. In-Line Bulk Water Meter. | No. | 1 | 0 | Rate Only
3.14 | LI | 8.2.3 | Flow Control Valves
(Bermad or similar approved, flanged and drilled to SABS 1123, Table 16)
3.14.1 |  |  | Provisional Sum for the supply of 150 mm dia. In-Line Flow Control Valves. | No. | 1 |  | Rate Only
3.14.2 |  |  | Provisional Sum for the supply of 75 mm dia. In-Line Flow Control Valves. | No. | 1 |  | Rate Only
SUB-TOTAL SCHEDULE B - SECTION 3 CARRIED FORWARD: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Pipelines4
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 3: MEDIUM PRESSURE PIPELINES AND ANCILLARIES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SUB-TOTAL SCHEDULE B - SECTION 3 BROUGHT FORWARD: | [6 empty] | 0
B.3 |  |  | MEDIUM PRESSURE PIPES:
(As specified in SABS 1200 L, SABS 1200 GA and the Project Specifications.)
3.14 | LI | 8.2.2 | Specials and Fittings - Stand Pipes
3.14.1 |  |  | Stand pipe fittings complete, excluding saddles, including all labour, plant and incidentals as per DWAF details. | No. | 1961 | 0 | 0
3.14.2 |  |  | Supply and Installation of 15mm Kent Water meter brass type for household connections all complete as per project specifications | No. | 1961 | 0 | 0
3.15 | LI | 8.2.2 | Pipe Specials - Galvanised:
3.15.1 |  |  | 80 mm dia. x 300 mm long GMS pipe, flanged both ends, drilled to SABS 1123 Table 16. | No. | 15 | 0 | 0
3.15.2 |  |  | 150 mm dia air valve chamber vent as per details. | No. | 15 | 0 | 0
[6 empty] | 0 | 0
3.16 | LI | 8.2.13 | Valve Chambers: |  |  | 0 | 0
3.16.1 |  |  | Valve chamber - 1200 mm x 1400 mm x 1000 mm depth, complete including excavation, materials, plant, labour and incidentals, as per detail drawings. | No. | 10 | 0 | 0
3.16.2 |  |  | Extra-over Item 3.15.1 for depth increments of 250 mm. | No. |  | 0 | 0
3.17 | LI |  | Standpipes:
3.17.1 |  |  | Stand pipe complete, excluding specials and fittings, including all labour, plant, materials and incidentals, as per detail drawings. | No. | 1961 | 0 | 0
3.18 | LI | 8.2.1 | Hydraulic Pipe Testing: |  |  | 0 | 0
3.18.1 |  |  | 75 mm dia. Pipes | m | 58675 | 0 | 0
3.18.2 |  |  | 160 mm dia. Pipes | m | 6295 | 0 | 0
3.18.3 |  |  | 25 mm HDPE PN 20 | m | 15964 | 0 | 0
3.18.4 |  |  | Pipe specials and fittings for testing. | Sum | 1 | 0 | 0
3.19 | LI | 8.2.1 | Disinfecting Pipe Works.
3.19.1 |  |  | 75 mm dia. Pipes | m | 58675 | 0 | 0
3.19.2 |  |  | 160 mm dia. Pipes | m | 6295 | 0 | 0
3.19.3 |  |  | 200 mm dia. Pipes | m | 0 | 0 | Rate Only
3.19.4 |  |  | 110 mm dia. Pipes | m | #REF! |  | #REF!
SUB-TOTAL SCHEDULE B - SECTION 3 CARRIED FORWARD: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Pipelines5
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 3: MEDIUM PRESSURE PIPELINES AND ANCILLARIES
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SUB-TOTAL SCHEDULE B - SECTION 3 BROUGHT FORWARD: | [6 empty] | 0
B.3 |  |  | MEDIUM PRESSURE PIPES:
(As specified in SABS 1200 L, SABS 1200 GA and the Project Specifications.)
3.2 | LI | 8.2.11 | Thrust Blocks:
3.20.1 |  |  | Excavation. | m3 | 508 | 0 | 0
3.20.2 |  |  | Formwork. | m2 | 1016 | 0 | 0
3.20.3 |  |  | Concrete. [Class 20/19 MPa] | m3 | 71 | 0 | 0
3.21 | LI |  | Pipe Works Ancillaries:
3.21.1 |  |  | 550 mm x 550 mm Fabricated manhole cover with frame, galvanised. | No. | 10 | 0 | 0
3.21.2 |  |  | Access ladder - 304 SS, galvanised. | No. | 10 | 0 | 0
3.21.3 |  |  | Concrete pipe line markers as per details. | No. | 324 | 0 | 0
TOTAL SCHEDULE B - SECTION 3 CARRIED TO SUMMARY: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## Ancillaries
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE | [6 empty] | ORB.INV_02.22
SCHEDULE OF QUANTITIES:
INVERAAN VILLAGE WATER SUPPLY |  |  |  |  | CONTRACT No INF-W27/2022/2023
SCHEDULE B: BULK SUPPLY AND NETWORK DISTRIBUTION WORKS
SECTION 4: ANCILLARY WATER SUPPLY WORKS
ITEM NUMBER | LI | PAYMENT CLAUSE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
B.4 |  |  | ANCILLARY WORKS:
(As specified in the Project Specifications.)
4.1 |  | PSH 4.1 | Elevated Pressed Steel Reservoir:
(Reservoir shall be a Braithwaite type, or similar,pressed steel. All manufacturing to SABS standards with hot dip galvaising to SANS 121(ISO 1461), Installation to be performed by the supplier)
4.1.1 |  |  | Supply and erect 1105 kl capacity elevated pressed steel reservoir with base 10.0m above natural ground level. | No. | 0 | 0 | Rate only
4.1.2 |  |  | Excavating in soft material for maximum depth of 2.0m for the tank footings. | m3 | 0 | 0 | Rate only
4.1.3 |  |  | Extra over subitem 4.1.3 for excavation in hard material, irrespective of depth. | m3 | 0 | 0 | Rate only
4.1.4 |  |  | Supply, bend and fixing of High yield stress steel reinforcement for the tank footings. | t | 0 | 0 | Rate only
4.1.5 |  |  | Supply, bend and fixing of Mild stress steel reinforcement for the tank footings. | t | 0 | 0 | Rate only
4.1.6 |  |  | Vertical formwork to provide Class F1 surface finish to the tank footings. | m2 | 0 | 0 | Rate only
4.1.7 |  |  | Supply and placement of blinding layer concrete. [Class 15/10 MPa] for the tank footings. | m3 | 0 | 0 | Rate only
4.1.8 |  |  | Supply and placement of reinforced concrete. [Class 25/19 MPa] for the tank footings. | m3 | 0 | 0 | Rate only
4.1.9 |  |  | Supply and install Ø24mm x 700mm long holding bolts to be casted in the tank footings. | No. | 0 | 0 | Rate only
4.1.11 |  |  | Provision for extension of the existing tank stand | Prov.Sum | 1 |  | 0
4.2 |  |  | Borehole Development:
Re-drilling and Equipping Boreholes
4.2.1 |  |  | Re-drilling and or rehabilitation of Borehole H11-2768 including yield test and chemical analysis reporting. Borehole depth up to 120m | Sum | 1 | 0 | Rate only
4.2.2 |  |  | Supply and equip new Boreholes with a suitably sized 3 phase electric motor. Unit complete with starter panel, cabling, valves, flow meter and delivery pipework as per drawing No…. | No. | 1 | 0 | Rate only
4.2.3 |  |  | Supply, delivery and installation of 2.4m high concrete palisade fence c/w 4.5m wide steel sliding gate, inclusive of area clearance, and civil foundations as per drawings INV-STD-10&12 | m | 100 | 0 | Rate only
4.2.4 |  |  | Allow a Provisional Sum for removing, cleaning and handing over to the Engineer existing Boreholes H11- 2768 & 1372 diesel engine equipment. | Sum | 1 | 0 | Rate only
4.2.5 |  |  | Supply and install precast concrete pump house as per DWS specifications, complete with heavy duty lockable steel access door for boreholes above. | No. | 1 | 0 | Rate only
4.2.6 |  |  | Provision for ESKOM Connection | Prov.Sum | 1 | 150000 | Rate only
4.2.7 |  |  | Overheads, charges and profit on item 4.2.13 | % | Rate only | 0 | Rate only
4.3 |  |  | Water Package Plant in Bodi Village:
4.3.1 |  |  | Installation of 1166 KL/day Water Treatment Package Plant for Reverse Osmosis. | Prov.Sum | 1 | Rate only | Rate only
|  |  | Overheads, charges and profit on item 4.2.13 | % | Rate only | 0 | Rate only
4.3.2 |  |  | Allow for formation of a reed bed effluent discharge in 4.3.1 above | Prov.Sum | 1 | Rate only | Rate only
TOTAL SCHEDULE B - SECTION 4 CARRIED TO SUMMARY: | [6 empty] | 0
INVERAAN CONT B WS BoQ

## SUM
CAPRICORN DISTRICT MUNICIPALITY - LIMPOPO PROVINCE |  |  |  |  | ORB.INV_02.22
SUMMARY SCHEDULE OF QUANTITIES
INVERAAN VILLAGE WATER SUPPLY |  |  | CONTRACT No INF-W27/2022/2023
CALCULATION OF TENDER SUM
CONT B. RETICULATION - SPLIT 2
SCHEDULE | SECTION | SECTION DESCRIPTION |  | TENDERED AMOUNT
A | PRELIMINARY AND GENERAL:
A | 1 | FIXED CHARGE AND VALUE RELATED OBLIGATIONS |  | 0
A | 2 | TIME RELATED OBLIGATIONS |  | 0
A | 3 | PROVISIONAL SUMS |  | 0
A | 4 | PRIME COST SUMS |  | 0
A | 5 | DAYWORKS |  | 0
A | 6 | TEMPORARY WORKS |  | 0
TOTAL SCHEDULE A: |  |  |  | 0
B | BULK SUPPLY AND NETWORK DISTRIBUTION WORKS:
B | 1 | EARTHWORKS FOR PIPE TRENCHES |  | 0
B | 2 | PIPE BEDDING |  | 0
B | 3 | MEDIUM PRESSURE PIPELINES AND ANCILLARIES |  | 0
B | 4 | ANCILLARY WATER SUPPLY WORKS |  | 0
TOTAL SCHEDULE B: |  |  |  | 0
TOTAL AMOUNT - SCHEDULE A: |  |  |  | 0
TOTAL AMOUNT – SCHEDULE B: |  |  |  | 0
TENDER SUM: |  |  |  | 0
2.5% CPA (Applied to A+B) |  |  |  |  | 0
CONTINGENCIES [10.00%]: |  |  |  | 0
SUB-TOTAL: |  |  |  | 0
VAT [15.00%]: |  |  |  | 0
TENDER PRICE: |  |  |  | 0
INVERAAN CONT B WS BoQ
0